## Slide 1: Getting the Most from Your Clinical Engineering Program as Senior Hospital Leadership
John Schafer
MBA, CHTM
Medical Equipment Service Program Manager
Intermountain Healthcare

## Slide 2
About Intermountain Healthcare

## Slide 3
About Intermountain Healthcare
An Integrated Delivery Network with a Tradition of Innovation
Hospitals
1975 Beginning
22 Hospitals
2,800 Licensed Beds
1983 Started
SelectHealth
900,000 members
25% of Utah market
Health Plans
Medical Group
1994 Started
1,400 employed physicians
4,000 affiliated physicians
185+ clinics
39,000 Employees
$2 B Non-labor spend
Based in Salt Lake City, Utah
Helping people live the healthiest lives possible TM
Continuum of Care
TeleHealth
Homecare
Life Flight
Central lab
Central pharmacy
Clinical Engineering
Intalere
1986 Started
2015 Ownership
Commercial platform
$8B Spend GPO

## Slide 4: CLINICAL ENGINEERING SUPPORT SERVICES STRUCTURE
Central Support Services and Management
  System Director
  Compliance Manager
  Central Support Manager
  Service Coordination Center
  Office Coordinator
  Inventory Coordinator
  Data Analysts
CE Regional and Hospital Operations
  Five Regional CE Directors
  Local CE Departments and Technicians
  Local Parts and Supply Stock
Imaging Equipment Services Program
  Program Manager
  Regional Service Engineers
  Centralized Parts Stock
Central Depot Repair Services
  Program Manager
  Depot Clinical Engineers
  Centralized Parts Stock
Notes: CESS structure and roles/ responsibilities

## Slide 5: This is your tool box
For all of you here, I am presenting the toolbox you will have available to present this to your own administration.
Take this slide deck and change it however you want, and present it to your administration.
Be proactive, and make your life easier!!
John.Schafer@imail.org and I will send you your own copy

## Slide 6: Getting the most from your Clinical Engineering department as Hospital Leadership

## Slide 7: Old school Biomed
A Break-Fix Clinical Engineering operation is your standard CE shop where the in-house staff repairs what they can, and the rest will be sent out or put under a service contract. The CE shop is not engaged for any other contribution to the hospital’s operation, except for that odd once-in-a-while situation no one else knows what to do with.

## Slide 8: Missing out
How many of us have heard “Just stay in your shop and pay attention to your job” when we bring up a suggestion on how to do things better? I have both worked in and been in charge of shops like this, and I would say hospital leadership is missing out on a very rich source of information and an opportunity to enhance their hospital’s operations.

## Slide 9: Comprehensive program
The other end of the spectrum is what I would call the comprehensive Clinical Engineering program. Clinical Engineering is actively involved with the medical equipment life cycle process, from equipment pre-sourcing, through the entire life cycle, and making the most of the equipment as it is retired.

## Slide 10: Services available you already have but didn’t know
Many of the services available through your Clinical Engineering shop include: sourcing collaboration, equipment standardization, prevent your hospital from buying junk, installation planning, pre purchase clinical evaluation, and maximizing the warranty. In general these are all excellent ways to cut future expenses.

## Slide 11: The Equipment Life Cycle
Equipment Planning
Technology Assessment and Selection
Budgeting and Financing
Procurement and logistics
Installation and Commissioning
Training and Skill Development
Operation, Maintenance and Repair
Decommissioning and Disposal

## Slide 12: Equipment Planning

## Slide 13: Pre-Purchase Planning
Everyone who has had management training has heard the principle of 7 Ps: Previous Proper Planning Prevents p** s poor performance (That’s the Navy version anyway). Many times departments are in a hurry to purchase medical equipment and do so without any planning because: “We have money for that in the budget”.

## Slide 14: New Equipment Comparison by Total Cost of Ownership
Clinical Engineering is an integral part of determining what the total cost of ownership will be for proposed new equipment acquisitions. What will be the cost of service (in-house vs. contract)? What will be the cost of consumables? What is the expected life span of your new acquisition? Can this be supported past the planned end of life date through using an alternate source for parts and service? The answers to all of these questions will help determine the correct path to maximize the return on investment (ROI) on these new purchases.

## Slide 15: Pre-Purchase Planning
Things you can miss out on during initial purchase include installation, service manuals, user manuals, software necessary to make everything work, test apparatus, CE tech training, will this be under a service contract or serviced in house, user application training, and technical support; all of which could be an additional cost if procured separately after the initial purchase. There is also the loss of establishing an economy of scale by treating each department as its own entity and discounting the entire hospital’s medical equipment inventory as a fleet of equipment to be managed as a large unit.

## Slide 16: Pre-Purchase Planning
In fact a some facilities the lack of pre-purchase collaboration results in Clinical Engineering discovering new equipment when it shows up for delivery at the back dock. Do you already have some equipment that does the same function? Having multiple patient wings, all having different brands of monitoring is a great example.

## Slide 17: Pre-Purchase Planning
The nursing staff has to be trained for all different brands. There will be several types of consumables, and the ability to view all monitored patients from a single nursing station is going to be a challenge. Without pre-purchase planning, interoperability becomes very difficult or not even possible.. In addition, your hospital’s operation will not be anywhere near as good as it could be; and you will most likely end up spending more money to boot.

## Slide 18: Technology Assessment and Selection

## Slide 19: Technology Assessment and Selection
Buying more features than you need= spending more $ than you need to
The more features a piece of medical equipment has- The more things there are to break.
We may expand services so we should get the equipment to do those services. Is this actually taking place or is this wishful thinking?

## Slide 20: Unnecessary features
https://www.youtube.com/watch?v=Rx6WB5YJia8

## Slide 21: Budgeting and Financing

## Slide 22: Budgeting and Financing
Ownership of medical equipment is not free. It will need to be repaired, upgraded, and don’t forget consumables. For example, consider the Genius II thermometer. Last time I looked those little probe covers cost 2.8 cents each in bulk. Once you have applied some basic math you will see that taking one million temperatures will cost you $28,000! In a children’s hospital or large inpatient facility it will not take long to accomplish that very thing.

## Slide 23: Budgeting and Financing
Since you probably can’t always increase your top line revenue (you have already done that as much as you can), you can increase what’s left over on the bottom line by cutting expenses that you will incur.
There are numerous pieces of medical equipment that can be supported past the OEM end of life date.
Never buy anything that is label “End of model”. It is not a bargain.

## Slide 24: Budgeting and Financing
Warranty maximization is a huge opportunity for cost savings. There are many warranty options available other than “one year, parts and labor”. Some other options will include training, parts, tech support and plastic components. At Intermountain Healthcare we recently changed the entire health system to the Carefusion 8000 series “Brain and Channel” style IV pumps. Rather than the standard one year warranty, we looked into other options to maximize our benefit. And besides, all you need to is ask what your options are. The worst thing an OEM can do is to say “No.”

## Slide 25: Budgeting and Financing
They will have information on what equipment has an end of life date. Can that equipment be supported past the end of life date due to the availability of alternate sources? What equipment is not going to make it to the end of its recommended service life and will need to be replaced early? If you are a hospital administrator or CFO and you need to replace 25-million dollars’ worth of equipment and you only have 18-million dollars to work with on a good day (does that sound familiar?), that type of information is worth its weight in gold

## Slide 26: Budgeting and Financing
Clinical Engineering can also provide a valuable service by reviewing service contacts to find instances on where you are paying more than you need to for service. Does that X-ray unit in your outpatient clinic that operates from 8am to 5pm really need a premium 24 x 7 service contract? No, it can be supported nicely by an 8-5, Monday through Friday contract for a much lower price. Or do you have contracts that could be eliminated all together by training your in-house CE staff? Contact me on LinkedIn, I can tell you all about it.

## Slide 27: Procurement and Logistics

## Slide 28: Procurement and Logistics
Make sure you have included user/applications training, service manuals, operator’s manuals, consumables, preferred pricing for future consumables, and explored all warranty options available. As the purchaser of new equipment or services, YOU have the power to dictate the conditions of the deal.
If you would rather have OEM training for your in-house Clinical Engineering staff and 3 years of parts coverage instead of the standard one year warranty, bring it up. The WORST thing they can do is say NO!!

## Slide 29: Procurement and Logistics
Make sure that Everything you will possibly want is included in your final quote. Once the ink for the signature is dry, every item that you want to add is going to cost extra. SO MAKE SURE YOU HAVE EVERYTHING BEFORE YOU SIGN.

## Slide 30: Procurement and Logistics
Is this large enough to need a project manager?
Will this unit have to be delivered before installation can be done?
Will storage be required?
Make sure the warranty doesn’t start until the unit is actually installed.

## Slide 31: Installation and Commissioning
What will it take to get this unit installed? MRI will need to have a large hole in the building, etc.
Do you need to have a lot of wires installed in the walls and interstitial spaces?
How will this interface with the IT backbone? I guarantee the IT department will have something to say about it.

## Slide 32: Operation, Maintenance and Repair

## Slide 33: Operations
To maintain an ongoing reduction of expenses, engage your Clinical Engineering department to operate as an equipment Life Cycle management program, rather than just fix what breaks. No one in the entire facility has the firsthand knowledge of the condition of the equipment and the ability to support it like the CE department does.

## Slide 34: Operations
They will have information on what equipment has an end of life date. Can that equipment be supported past the end of life date due to the availability of alternate sources? What equipment is not going to make it to the end of its recommended service life and will need to be replaced early?
Did you know that tocotransducers can be repaired instead of just thrown away? They can be repaired at great savings. Many peripheral devices can be repaired.

## Slide 35: Operations
If you are a hospital administrator or CFO and you need to replace 25-million dollars’ worth of equipment and you only have 18-million dollars to work with (does that sound familiar), that type of information is worth its weight in gold

## Slide 36: Training and Skill Development
When you have new equipment being installed-
  Operator training is essential
  Clinical Engineering will need training on the more complex systems if this will be serviced in-house

## Slide 37: Maintenance and Repair
Does this model have an end of life date already established?
Does this model have a large third party service base?

## Slide 38: Decommissioning and Disposal

## Slide 39: Decommissioning and Disposal
Repurposing equipment- Can this equipment be reutilized in another department with a less critical need? Old vital signs monitors can be reused in non-critical settings, old telemetry can go to cardiac rehab, etc. This is also a very effective tool in a multi-facility system.
Is this equipment beyond economical repair? If yes avoid it like the plague!! Pulling old equipment that needs repair off of the scrap pile will probably cost you more than purchasing a used or refurbished unit.

## Slide 40: Decommissioning and Disposal
Your Clinical Engineering department can assist with equipment sales to maximize your equipment sales revenue. We are bombarded by companies that want to buy used medical equipment and we can pass that information along. Used equipment that is in operational condition is worth more money upon resale. Your CE department can work with OEMs and other suppliers to make sure hard drives are purged of patient data but still have the operating systems in place

## Slide 41: Conclusion
I really see this, not as a trend, but as the future of Clinical Engineering in healthcare as a way to gain out-of-the-box savings. In order to provide the highest quality and most affordable health care possible, we must engage internal resources in new ways where they can add value, cut costs and improve service.

## Slide 42: Conclusion
In my career, I have had discussions with more than one hospital administrator or CFO that “a flat top line with an increased bottom line due to cost cutting is not exactly how I had envisioned the year, but I love the result.”
The only problem with this is it is almost always immediately followed by “What else you got”?

## Slide 43: Conclusion
Talk to your Clinical Engineering Department. I guarantee you they will be interested in working with whoever will be buying equipment. After all, it is in their best interest on helping make the best deal: they will be supporting it for the next 8 to 10 years or more. Working with you on pre-purchase planning is how they can make their own lives easier.

## Slide 44: Conclusion
As administrators, you are looking for ways to do it better with less money and resources. The good news I have for you is these resources are already in the building. Your Clinical Engineering department would most likely jump at the chance to work with other departments to structure the best purchase deals on new equipment as it will make their life a lot easier when it is time to service that new equipment. Ask them when you are out practicing “management by walking around”. You will be surprised what resources are already available to you.