## Slide 1: Strategic Approach to Developing a Mature Capital Replacement Program
Alan Gresch
VP of Healthcare Strategy
Accruent

## Slide 2
Why?
  Common Workflows & Pain Points
  Benefits - Now
  Benefits - Future
  Deeper Relationships with Executive Leadership
How?
  Data Integrity
  Data Standardization
  Assessment Methodology
  Additional Analyst Staff
What?
  Results

## Slide 3
Why?
  Common Workflows & Pain Points
  Benefits - Now
  Benefits - Future
  Deeper Relationships with Executive Leadership
How?
  Data Integrity
  Data Standardization
  Assessment Methodology
  Additional Analyst Staff
What?
  Results

## Slide 4: COMMON CAPITAL ALLOCATION WORKFLOWS AND PAIN POINTS
A. Strategic Planning
B. Operational Planning
C. Alignment & Prioritization
D. Unplanned Capital
E. Procure & Implement
F. Maintain
CHALLENGES CALCULATING ROI AND GETTING TRUE COST OF OWNERSHIP
UNCLEAN DATA OR DATA IS NOT ACCESSIBLE
DIFFICULTY PRIORITIZING AND UNDERSTANDING TRADE-OFFS
CONTINGENCY FUNDS THAT LINGER WITH NO PLAN
SELECTING EQUIPMENT TAKES TIME AND EFFORT
BIOMED SYSTEM IS NOT ACCESSIBLE TO EVERYONE

## Slide 5: Benefits - Now
Capital planning based on technological guidance & support
An unbiased analysis based on requirements, not wishes
Administrative awareness to operational & strategic impacts
Advocacy for delivery of care via appropriate technologies
Vital analysis for equipment planning & construction

## Slide 6
Long-range Capital replacement plan
System-wide 5-year Capital Plans
Drive Standardization
Ability to plan / participate in Group Buy opportunities
Emergent technology forecasting
Engage / Drive vendor’s product development
Incorporation in major capital/ IT / construction projects
Benefits - Future
Notes: Standardization – Reduces downstream costs to support (TCO)
Deeper Relationship with Executive Leadership!!!

## Slide 7
Why?
  Common Workflows & Pain Points
  Benefits - Now
  Benefits - Future
  Deeper Relationships with Executive Leadership
How?
  Data Integrity
  Data Standardization
  Assessment Methodology
  Additional Analyst Staff
What?
  Results

## Slide 8: Assessment Methodologies - ProHealth
Use this list to enter the estimated replacement equipment and ancillary expenses. |  |  | Use this section to enter the Lifecycle in years based upon utilization |  | 
Main List data will update Using this information |  |  | Replacement Cycle |  | 
Modality | Equip Cost ($K) | Ancillary Cost ($K) | HIGH | AVERAGE | LOW
CT | $ 920 | $ - | 10 | 11 | 12
MR | $ 1,730 | $ - | 10 | 11 | 12
IR | $ 1,500 | $ - | 9 | 10 | 11
Cath | $ 1,310 | $ - | 9 | 10 | 11
BMD | $ 64 | $ - | 10 | 11 | 12
NM | $ 460 | $ - | 9 | 10 | 11
PET | $ 2,100 | $ - | 10 | 11 | 12
C-Arm | $ 199 | $ - | 8 | 9 | 10
C-Arm - Mini | $ 85 | $ - | 8 | 9 | 10
Mammo | $ 430 | $ - | 9 | 10 | 11
Mammo-Bio | $ 62 | $ - | 9 | 10 | 11
O-Arm | $ 450 | $ - | 9 | 10 | 11
R&F | $ 565 | $ - | 10 | 11 | 12
U/S | $ 130 | $ - | 8 | 9 | 10
U/S - CV | $ 175 | $ - | 8 | 9 | 10
XR | $ 425 | $ - | 12 | 13 | 14
XR-Mobile | $ 138 | $ - | 12 | 13 | 14
XR-Dental | $ 225 | $ - | 12 | 13 | 14
XR-Spec | $ 100 | $ - | 12 | 13 | 14
U/S - Int | $ 280 | $ - | 8 | 9 | 10
Robotics | $ - | $ - | 7 | 8 | 9
Lin Acc | $ 3,000 | $ - | 10 | 11 | 12
Data Validation Table for the Life Cycle Stage Column on the Main List Tab | 
Suggestions for Changes at end of table. This appears to be a Techology Lifecylce rather than an equipment lifecycle | 
Life Cycle Stage | Definition
1 New Technology | 
2 Useful Life | 
3 End of Useful Life | 
4 Extended Life | 

## Slide 9: Assessment Methodologies - Aurora

## Slide 10: Assessment Methodologies – Alexian Brothers
Assessment Factor | Max Value | Evaluates |  | Value
Serviceability | 13 | Age Factor |  | 
Includes the evaluation of four aspects of service |  |  | 0 to 65% of Life | 0
 |  |  | 65% to 150% of Life | 1
 |  |  | 150% or higher of Life | 2
 |  | Service Cost vs. Purchase Cost* |  | 
 |  |  | 0 to 25% of Cost | 1
 |  |  | 26% to 50% of Cost | 2
 |  |  | 51% to 75% of Cost | 3
 |  |  | 76% or higher of Cost | 4
 |  | Service Event |  | 
 |  |  | Normal Service | 0
 |  |  | Increasing Service | 2
 |  |  | Extensive Service | 3
 |  | Support Capability |  | 
 |  |  | Service Support Available | 0
 |  |  | Aftermarket | 2
 |  |  | No Longer Available | 4
Equipment Functional Risk* | 10 | General Care or Ancillary Device* |  | 1-2
Identifies equipment failure risk in relation to clinical function and care. As defined by the American Society for Healthcare Engineering of the American Hospital Association. |  | Analytical or Patient Support * |  | 3-5
 |  | Therapeutic or Diagnostic * |  | 6-9
 |  | Life Support * |  | 10
Clinical Assessment Factors |  |  | 
Probable Clinical Impact | 17 | No Impact | 0
Considers the probable clinical limitations of the device |  | Standardization | 2
 |  | Service Mission | 8
 |  | Limits patient care | 17
Probable Financial Impact | 16 | No Impact | 0
Considers potential financial impact on revenue, throughput, and/or increase in operational cost. |  | Limit Revenue Potential | 9
 |  | Increased Operating Cost | 12
 |  | Potential Lost Revenue | 16
Technology Level | 14 | Leading Technology | 3
Considers the existing technology in relation to clinical efficacy and market expectations |  | Current Technology | 7
 |  | Aging Technology | 11
 |  | Obsolete Technology | 14
Safety/Regulatory Risk | 20 | Not Applicable | 0
Considers regulatory or standards compliance or safety concerns |  | Applicable | 20
Technology Initiative | 10 | Compatible / Not Applicable | 0
Considers compatibility with current technology initiatives, e.g. HL7, PACS, etc. |  | Not Compatible | 10

## Slide 11: Equipment Data
Equipment demographics
    Control number, type, manufacturer, model, serial number, location, purchase information, etc.
AHA Useful Life
Service histories
OEM support information
Equipment functional risk

## Slide 12: Equipment Scoring
“Each” medical device is profiled & assigned a Replacement Index based upon the sum of seven assessment factors with a maximum value of 100. A higher replacement index generally indicates a more urgent need.
Serviceability – Max Value 13
Equipment Functional Risk – Max Value 10
Probable Clinical Impact – Max Value 17
Probable Financial Impact – Max Value 16
Technology Level – Max Value 14
Safety/Regulatory Risk – Max Value 20
Technology Initiative – Max Value 10

## Slide 13: Assessment Factors
Serviceability – Max Value 13 – Includes the evaluation of four aspects of service comprised of:
  Age Factor – Max Value 2
  Service Cost vs. Purchase Cost – Max Value 4
  Service Events – Max Value 3
  Support Capability – Max Value 4

## Slide 14: Assessment Factors
Age Factor – Max Value 2
Age (today less purchase date) divided into the American Hospital Association (AHA) estimated useful life for that equipment type.
These Infant Warmers are much greater than AHA estimated useful life.

## Slide 15: Assessment Factors
Service Cost vs. Purchase Cost – Max Value 4
Life Cycle Service Cost divided into Purchase Cost
Some Anesthesia Units have Service Costs of 26%-50% of their purchase cost.

## Slide 16: Assessment Factors
Service Events – Max Value 3
# of Service Events (not including incoming inspection, safety test and preventive maintenance) divided by age; standard scoring is a 2 for > 1 and a 3 (Extensive) for > 2 service events per year but scoring is device specific (see below).
MRI Scoring is a 2 for > 5 and a 3 (Extensive) for > 10 service events per year.

## Slide 17: Assessment Factors
Support Capability – Max Value 4
Support Capability based on availability of replacement parts, etc. as evidenced by Clinical Engineering.
Service Support is no longer available for all GE models older than 129.

## Slide 18: Assessment Factors
Equipment Functional Risk – Max Value 10 – Identifies equipment failure risk in relation to clinical function & care; as defined by the American Society for Healthcare Engineering (ASHE) of the American Hospital Association (AHA).
The majority of devices have a scoring of 2 for General Care while Anesthesia Units, Defibrillators and Ventilators have a score of 10 for Life Support.

## Slide 19: Assessment Factors
Notes: Additional Analyst Staff

## Slide 20
Why?
  Common Workflows & Pain Points
  Benefits - Now
  Benefits - Future
  Deeper Relationships with Executive Leadership
How?
  Data Integrity
  Data Standardization
  Assessment Methodology
  Additional Analyst Staff
What?
  Results

## Slide 21: ProHealth

## Slide 22: ProHealth

## Slide 23: ProHealth
Marker | PHC Asset # | Modality | Company/ OEM | Location | Model | Install Date/ Upgrade Date | Facility | Department | Director | Manager | Life Cycle Stage | OEM Grouped | Age (Years) | Utilization # | Utilization | Estimated Lifecycle (Yrs) | Estimated Rep Date | Not Used | Scheduled Hrs/week
PHC002 | 00039471 | MR | GE | DN Greenwald | Signa HD 16.x 1.5T | 1/10/2005 | D.N. Greenwald Center | WMH MRI - MUK | Bye, Marie | Kuechler, Heidi | 4 Extended Life | GE | 16.8 | 1 | LOW | 12 | 1/2017 |  | 48.00
PHC004 | 00064150 | MR | Siemens | Pewaukee | Magnetom Aera 1.5T | 6/1/2015 | Pewaukee Clinic | WMH MRI - PKE | Bye, Marie | Kuechler, Heidi | 1 New Technology | Siemens | 6.4 | 3 | AVERAGE | 11 | 5/2026 |  | 48.00
PHC005 | 00993246 | MR | Siemens | MR1 | Magnetom Aera 1.5T | 12/1/2015 | Oconomowoc Memorial Hospital (OMH) | OMH MRI | Bye, Marie | Kuechler, Heidi | 1 New Technology | Siemens | 5.9 | 3 | AVERAGE | 11 | 11/2026 |  | 50.00
PHC007 | 00607217 | MR | Siemens | Pewaukee | Magnatom Skyra 3.0T | 7/1/2016 | Pewaukee Clinic | WMH MRI - PKE | Bye, Marie | Kuechler, Heidi | 1 New Technology | Siemens | 5.3 | 3 | AVERAGE | 11 | 6/2027 |  | 48.00
PHC104 | 00039666 | BMD | Hologic | Radiology | Discovery Ci | 12/15/2004 | D.N. Greenwald Center | WMH BIS - MUK | Bye, Marie | Kuechler, Heidi | 4 Extended Life | Hologic | 16.9 | 3 | AVERAGE | 11 | 12/2015 |  | 44.00
PHC221 | 00990410 | BMD | Hologic | CBC New Berlin Clnic | DISCOVERY QDR4500 | 10/1/2005 | New Berlin Clinic | WMH BIS - New Berlin | Bye, Marie | Kuechler, Heidi | 4 Extended Life | Hologic | 16.1 | 3 | AVERAGE | 11 | 9/2016 |  | 44.00
PHC012 | 00045625 | CT | GE | VCT1 | VCT 64 | 8/10/2010 | Oconomowoc Memorial Hospital (OMH) | OMH CT | Bye, Marie | Kuechler, Heidi | 2 Useful Life | GE | 11.2 | 3 | AVERAGE | 11 | 8/2021 |  | 75.00
PHC013 | 00064151 | CT | GE | Room 1 | Revolution HD w/GSI | 5/20/2015 | Pewaukee Clinic | WMH CT - PKE | Bye, Marie | Kuechler, Heidi | 1 New Technology | GE | 6.4 | 3 | AVERAGE | 11 | 5/2026 |  | 45.00

## Slide 24: ProHealth
FY 2019 | FY 2020 | FY 2021 | FY 2022 | FY 2023 | FY 2024 | FY 2025 | FY 2026 | Plan Status | Current Status | Replacement / Upgrade Year | Strata Jazz | Budgetary Cost | FY 2021 ($K) | FY 2022 ($K) | FY 2023 ($K) | FY 2024 ($K)2
r | m | m | m | m | m | m | m | In Proccess | Active | 2019 | 39471 | $1,730 | $ - | $ - | $ - | $ -
u | u | m | m | u | m | m | r | No Change | Active | 2026 |  | $1,730 | $ - | $ - | $ - | $ -
u | u | m | m | u | m | m | r | No Change | Active | 2026 |  | $1,730 | $ - | $ - | $ - | $ -
m | m | u | m | u | m | m | m | No Change | Active | - |  | $1,730 | $ - | $ - | $ - | $ -
m | m | m | r | m | m | m | m | Submitted | Active | 2022 |  | $64 | $ - | $ 64 | $ - | $ -
m | m | m | r | m | m | m | m | Submitted | Active | 2022 |  | $64 | $ - | $ 64 | $ - | $ -
m | m | m | m | m | r | m | m | Forecasted | Active | 2024 |  | $920 | $ - | $ - | $ - | $ 920
m | m | m | m | m | m | m | r | No Change | Active | 2026 |  | $920 | $ - | $ - | $ - | $ -
Action Road Map

## Slide 25: ProHealth
General Notes | Utlization Notes
7/3: Unit being replaced in FY19; new unit to be upgraded in FY23 | 
7/3: Heidi would like upgraded in FY20 & again in FY23 12/18: We will need to have meeting with Siemens to see if we can extend our 7 yr upgrade timeline to FY23 as the FY20 upgrade was delayed at their recommendation | Used PACs to count how many all year. Used PACMR1
7/3: Heidi would like upgraded in FY20 & again in FY23 12/18: We will need to have meeting with Siemens to see if we can extend our 7 yr upgrade timeline to FY23 as the FY20 upgrade was delayed at their recommendation | Got number by using PACS web to count how many in the past year
7/3: Heidi would like upgraded in FY21 & FY23 | Used PACs to count how many all year. Used PACMR2
Not Approved 2020, Moved to 2021 - DKB 12/18: Will resubmit for FY21 5/14/2020: Per discussion with Marie/Heidi/Rob regarding FY21 capital this can be deferred to FY22; however, this unit is end of life so if it goes down we will need to request contingency capital 2/9/21: 00039666 & 00990410 deemed priority 3&4 for FY22 per Heidi. Will want to replace both in same FY as staff float between the two sites. | Got number by using PACS web to count how many in the past year. PACS Modality OT.
Not Approved 2020, Moved to 2021 - DKB 12/18: Will resubmit for FY21 5/14/2020: Per discussion with Marie/Heidi/Rob regarding FY21 capital this can be deferred to FY22; however, this unit is end of life so if it goes down we will need to request contingency capital 2/9/21: 00039666 & 00990410 deemed priority 3&4 for FY22 per Heidi. Will want to replace both in same FY as staff float between the two sites. | Got number by using PACS web to count how many in the past year. Used nbholdxa
12/18: Bump from FY24 to FY23 per Heidi 2/9/21: Per Heidi we can move this back to FY24 for replacement. 2/18/21: Per 2/9/21 conversation moving to FY24, pending leadership approval | Got number by using PACS web to count how many in the past year
 | Got number by using PACS web to count how many in the past year.

## Slide 26: ProHealth

## Slide 27: ProHealth

## Slide 28: Aurora

## Slide 29: Aurora

## Slide 30: Aurora

## Slide 31: Aurora

## Slide 32: Aurora
Notes: Added one for Cost to Maintain

## Slide 33: Aurora

## Slide 34: Aurora

## Slide 35: Aurora

## Slide 36: Aurora

## Slide 37: Alexian Brothers

## Slide 38: Alexian Brothers Lease Info

## Slide 39: DATA INTEGRITY!

## Slide 41: Data Insights – Automated Prioritization Scoring
We created a new “Replacement Score” which includes the
following factors:
Age of Device vs. Expected Life
Age of Device vs. Max Life
Age of Model
Failure Rate Over Life
Recent Failure Trends
Patient Risk
End of Support Date from Manufacturer

## Slide 42: Data Insights

## Slide 45
agresch@accruent.com