## Slide 1: The Key Elements of a Successful In- House Imaging Program
Why no two programs are alike, but all successful programs contain these elements

## Slide 2: 1: Safety
Notes: OT hours worked, Drive Time, right to shut down equipment, correct tools and test gear, doing the PM to manufactures specs. No short cuts. CFR 21 regulations, software and access that is needed to install, maintain and calibrate.

## Slide 3: 1: Safety 2: Up Time
Notes: If equipment is not running you cannot treat patients. We consider a CT downtime to cost $100,000 per day. Uptime urgency is driven by department leaders.

## Slide 4: 1: Safety 2: Up Time 3: Cost
Notes: Cost never beats out Up Time or Safety. Cost is not dealt with during an emergent repair. Cost is always dealt with before the repair need.

## Slide 5: A Little about me
Regional Director for an 18 hospital system in Georgia.
47 years in the Biomed Field
Worked as in- house, Field Service, OEM, Regional ISO, and National ISO.
Brought Imaging in-house at two different facilities and managed imaging at several facilities.
Worked across the country to include Alabama, Alaska, Texas and Georgia among a lot of other areas.

## Slide 6
FY2021, $337 million of inventory for Imaging.
Fy2021 actual spend for total department was $12 million.
COS ratios was 3.72%
COS for three previous years was at 5.1%
This includes 30 Imaging Service Engineers reporting to a Service Manager
Overall uptime was 99%

## Slide 7: Why you cannot copy me Why are all programs different
Local Finance leadership
Some hospitals like a more fixed budget with no surprises. They like contracts to keep their budget smooth.
Issues with contracts: they cause delay waiting for the service response and possibly waiting until the next day so no overtime is incurred.
If you do allow overtime then you usually pay twice for the contract.
Increases cost.

## Slide 8: Why you cannot copy me Why are all programs different
2. Location
You hospital may be located in an area that does not have close service for fast response. You may have to have a contract just to get timely service.
The Key is Uptime!

## Slide 9: Why you cannot copy me Why are all programs different
3. Hospital size
We are able to negotiate better support due to our size and the amount we buy each year. We are able to standardize on equipment types with one vendor and get better concessions.

## Slide 10: Why you cannot copy me Why are all programs different
4. Administrative support of Biomed Program
When the imaging leaders support you and stand behind you, then you can negotiate better deals.

## Slide 11: Why you cannot copy me Why are all programs different
5. Relationship with local vendor reps.
This is key to how well you can negotiate local support.

## Slide 12: Key Elements
Communication
Uptime
Relationships
Meet expectations
Have options available
Be prepared for the next issue
Notes: If you call me to find out the status of equipment, then I have already failed.

## Slide 13: Vendor Relationships What I look for in a vendor
Quality of work and parts
Availability and Capability
Pricing
Tiered listing of our vendors, what spot do you want to be in?
Notes: OK to not have someone. Pricing includes travel charges and OverTime

## Slide 14: Vendor Relationships My responsibility
Honest and Fair negotiations
Quick pay
Returns processed quickly
Communicate issues
Open to ideas to help support vendor needs
Look for new ways to be successful
Notes: Labor and Parts Pool, call for service to get software keys diagnosis.

## Slide 15
Steve Kelley
678-995-3604